## Form
Mandatory Water Recycling Requirements
This excel and its supporting documents are to be submitted as part of the documents required for the approval of the Water Balance Chart for premises that are subjected to the Mandatory Water Recycling requirements. Incomplete information may result in delayed approval of the Water Balance Chart.
To input
1 | Recycling Rate (%) of premises
2 | List of Drain Segregation and Recycling streams
| To select all the applicable streams where the source of the reused / recycled water is from. | Stream Segregated? | Stream Recycled? | Remarks
Acid Rinse
Air Handling Unit / Heat Ventilation and Air Conditioning (AHU/HVAC)
Chemical Mechanical Polishing (CMP)
De-ionised (DI) Reclaim
Dilute Hydrofluoric (HF)
Dilute Organic Rinse
Electro-Deionization (EDI/CEDI) Reject
First Rinse
Last Rinse
Rainwater
Reverse Osmosis (RO) Reject
Tetramethylammonium hydroxide (TMAH)
Ultrafiltration (UF) Reject
Others
3 | Cooling Tower information (if applicable)
Water-cooled Cooling Tower?
Type of Water used for Cooling Tower makeup
Potable Water
NEWater
Seawater
Recycled / Reused Water
Others
Expected Cycle of Concentration (COC)
COC Based on which limiting parameters
Attachments
Information provided?
4 | Water Balance Chart (WBC) |  | To insert WBC in the 'Water Balance Chart' tab
5 | Basis / calculation for the respective estimated consumption |  | To provide information in the 'Basis for estimated consumption' tab
To include details such as: • Projected ultimate demand with timeline to ramp up • Domestic use – LPCD • Process Use • Cooling Tower • Scrubber • Boiler
6 | Water Efficiency Manager (WEM) Certificate |  | To insert proof of certification in the 'WEM Cert' tab
7 | Other supporting documents (if applicable) |  | To insert any other supporting documents in the 'Other Supporting Docs' tab
To include information such as: • Space catered • Information on recycling technology used (if applicable) • Justification for not meeting the mandatory requirements • Others

## Sheet2 (hidden)
Yes | To indicate the end use point
No | To indicate reason for not reusing / recycling
NA | To indicate reason for not segregating stream

## Water Balance Chart
To insert the proposed water balance chart (WBC)

## Basis for estimated consumption
To include details such as: • Projected ultimate demand with timeline to ramp up • Domestic use – LPCD • Process Use • Cooling Tower • Scrubber • Boiler

## WEM Cert
To insert proof of Water Efficiency Manager certification

## Other Supporting Docs
To include information such as: • Space catered • Information on recycling technology used (if applicable) • Justification for not meeting the mandatory requirements • Others